## Slide 1: A Breakthrough in Nuclear Cardiac Imaging
Mahrukh Syed, BSc

## Slide 2: D-SPECT
Vienna's first highly sensitive cardiac SPECT camera
Spectrum Dynamics Medical
9 columns of Cadmium Zinc Telluride detectors
Picture by Mahrukh Syed, BSc
https://spectrum-dynamics.com/products/d-spect-series/

## Slide 3: Advantages
High detector sensitivity  shorter scanning times
Imaging of even most challenging patients possible
No more claustrophobia  open design, no Ganrty motion
High flexibility  imaging in many positions possible
Time-saving  not many reconstructions
Space saving

## Slide 4: Variable positioning options
https://spectrum-dynamics.com/products/d-spect-series/

## Slide 5: Disadvantage
Sensitive  problem, if room temperature > 23°C
Heat  camera stops working

## Slide 6: References
https://spectrum-dynamics.com/products/d-spect-series/
Klinik Landstraße – Institute for Nuclear Medicine, Vienna